## Slide 1
Indicator | Limit Value
pH Value | 7~9.2
Suspended Solids Concentration and Turbidity | ≤ 20mg/L
Hardness (as CaCO3) | ≤ 500mg/L
Calcium Ion | ≤ 200mg/L
Magnesium Ion | ≤ 60mg/L
Aluminum Ion | ≤ 0.5mg/L
Copper Ion | ≤ 0.1mg/L
Total Iron | ≤ 0.5g/L
Chloride Ion | ≤ 300mg/L
Sulfate Concentration (Sum of Sulfate Ion and Chloride Ion) | ≤ 1500mg/L
Silicate | ≤ 175mg/L
Oil | ≤ 5mg/L